Princeton MountedPackaged APD

APD Mounted to PCB Amplifier

Stack up Profile

Packaging Detailed Images

Sputtered Backside Contact

Ti/Au (20/200nm) respectively

Kapton opening with silver based epoxy to mount backside contact

Mounted to PCB with 25um Al Wirebond detailing HV Top Contact

5um Kapton/Nickel Mesh detailing Araldite 2011 mounting epoxy

Mounted Mesh to Top of APD

25um Al Wirebonded Mesh to Amplifier Input

Completed Package