## Slide 1
BNL ATF Beam Test Results
C. Lu, K.T. McDonald, Princeton
M. Fedurin, T. Tsang, BNL
May 2, 2013
We report on the sets taken 4/24 and 4/26.
The beam test was under the following condition:
  Stripline #1  Scope channel #1,
  Stripline #2  Scope channel #4,
  8x8 mm2 mesh APD  Scope channel #2, -1800V,
  Same APD as studied in http://puhep1.princeton.edu/~mcdonald/LHC/Tsang/APD_8x8mm_mesh_screen_111512.ppt
  2x2 mm2 APD  Scope channel #3, -1830V.
Beam charge  ~ 5pc (4/24) and ~100pC(4/26).
Lead brick  On 4/26 one lead brick was placed upstream of the detector.
Trigger setting:
Stripline #1 only (4/24), Stripline #1 AND 2x2 APD (4/26).
The next two slides show some events with all four waveforms from 4/26 data:

## Slide 2
Chart: 
Chart: 
Chart: 
Chart: 
Waveforms from 4/26: 1 = stripline #1, 2 = 8x8 mm2 APD, 3 = 2x2 mm2 APD

## Slide 3
Chart: 
Chart: 
Chart: 
Chart: 
Waveforms from 4/26: 1 = stripline #1, 2 = 8x8 mm2 APD, 3 = 2x2 mm2 APD

## Slide 4
Overlap of normalized 8x8 mm2 APD waveforms. for first 100 events.
The normalization factor = peak (negative) value of the waveform, so the normalized waveforms have positive polarity.
The scope is triggered by stripline #1 AND 2x2 mm2 APD, the time reference is relative to stripline signal.
The 8x8 mm2 APD signal spread indicates its time resolution is very poor.
2ns/major division
First 100 waveforms

## Slide 5
Next 100 events:
2ns/major division

## Slide 6
Last 100 events
2ns

## Slide 7
Chart: V2x2
| -0.11 | -0.108 | -0.106 | -0.104 | -0.102 | -0.1 | -0.098 | -0.096 | -0.094 | -0.092 | -0.09 | -0.088 | -0.086 | -0.084 | -0.082 | -0.08 | -0.078 | -0.076 | -0.074 | -0.072 | -0.07 | -0.068 | -0.066 | -0.064 | -0.062 | -0.06 | -0.058 | -0.056 | -0.054 | -0.052 | -0.05 | -0.048 | -0.046 | -0.044 | -0.042 | -0.04 | -0.038 | -0.036 | -0.034 | -0.032 | -0.03 | -0.028 | -0.026 | -0.024 | -0.022 | -0.02 | -0.018 | -0.016 | -0.014 | -0.012 | -0.01 | -0.008 | -0.006 | -0.004 | -0.002 | 0 | More
Frequency | 6 | 18 | 15 | 4 | 1 | 1 | 4 | 1 | 2 | 2 | 6 | 3 | 4 | 6 | 1 | 1 | 7 | 5 | 7 | 3 | 5 | 7 | 4 | 10 | 8 | 6 | 8 | 11 | 8 | 9 | 8 | 12 | 8 | 9 | 10 | 13 | 15 | 19 | 21 | 13 | 26 | 31 | 25 | 26 | 35 | 29 | 28 | 23 | 28 | 29 | 37 | 13 | 0 | 0 | 0 | 0 | 0
Chart: V8x8
| -0.06 | -0.058 | -0.056 | -0.054 | -0.052 | -0.05 | -0.048 | -0.046 | -0.044 | -0.042 | -0.04 | -0.038 | -0.036 | -0.034 | -0.032 | -0.03 | -0.028 | -0.026 | -0.024 | -0.022 | -0.02 | -0.018 | -0.016 | -0.014 | -0.012 | -0.01 | -0.008 | -0.006 | -0.004 | -0.002 | 0 | More
Frequency | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 1 | 0 | 0 | 6 | 2 | 5 | 9 | 10 | 9 | 9 | 19 | 22 | 36 | 35 | 58 | 88 | 112 | 127 | 81 | 0 | 0 | 0
Pulse amplitude distributions
They do not look like a single MIP going thru silicon layer;
otherwise the amplitude distribution should have a narrower Gaussian distribution.

## Slide 8
Chart: V8x8>5mV
Distribution dt of time of peak signal in the 8x8 mm2 APD peak point vs. time reference from the stripline.
Plot only APD signals > 5 mV.
 ~ 198ps !!

## Slide 9
Chart: dt
Chart: dt
Scatter plot of dt vs. V
No obvious structure, so we can’t expect that cuts in these variables will improve the time resolution.

## Slide 10
Our Laser Diode test showed that except near its the edges, the 8x8 mm2 mesh APD has much smaller time walk. http://puhep1.princeton.edu/~mcdonald/LHC/Tsang/APD_8x8mm_mesh_screen_111512.ppt
In the 4/26 data set since we used the 2x2 mm2 APD to define the beam on the 8x8 mm2 APD, so we expected much smaller time jitter for 8x8 mm2 APD, but the test result is opposite to this expectation.
We analyze data from 4/24 with same methodology as above; trigger on stripline signal.
The 2x2 mm2 APD was directly facing the target, and the 8x8 mm2 APD was removed.
Normalize the APD signals to their peak value; the 199 normalized waveforms are shown below.
For |V| > 5 mV, 84 triggers remained.
The time jitter of the 2x2 mm2 APD is similar to that seen in the 4/26 results for the 8x8 mm2 APD.
It is not surprising that 2x2 mm2 APD has large time jitter due to its time walk for signal near the edge of the APD.
Why is the time jitter so bad for the 8x8 mm2 APD?

## Slide 11
For a closer look at the waveform time jitter for 2x2 and 8x8 APDs, we select first 7 events with |V| ~ 20mV from each data set.
The plots below give strong indication that 8x8 APD, supposedly with electrons restricted to a small region defined by the 2x2 APD, is not doing better than the latter!  We are likely not seeing single-electron events in the 8x8 APD; there are probably other particles hitting the entire face of the 8x8 APD, which ruins the time resolution.
2x2 APD
8x8 APD
Search for clue (cont’d)

## Slide 12
Chart: y(mm)
| 11 | 10 | 9 | 8 | 7 | 6 | 5 | 4 | 3
V(mV) | 62.4 | 69.4 | 68.8 | 68.17 | 71.84 | 70.83 | 73.02 | 72.1 | 35.6
time walk (ps) | 970.11 | 875.95 | 906.71 | 923.14 | 919.8 | 910.76 | 890.65 | 869.05 | 1435
Chart: x(mm)
| 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13
V(mV) | 48 | 69.4 | 68.3 | 71.4 | 72.2 | 73.4 | 73.5 | 72.7 | 56.2
time walk (ps) | 1172.4 | 907.8 | 914.4 | 912.75 | 910.6 | 908.3 | 882.3 | 860.7 | 973.9
8x8mm^2 mesh APD time walk and signal amplitude vs. position measured with VCSEL at Princeton (2/28/2013):
8x8mm^2 mesh APD time walk and jitter vs. position measured with VCSEL at BNL (Thomas, 11/29/2012):
Time walk

## Slide 13
Top of 2x2 APD box
Bottom of 2x2 APD box
Top of 8x8 APD box
e
2x2 APD
8x8 APD
Ground wire might have intercepted some of the e’s
In the beam, the boxes were wrapped in Al foil to suppress RF pickup. The e’s passed thru this foil.
Test Boxes for the 2x2 and 8x8 APDs
Alignment pins
Grids of aligment holes
Windows, with Cu tape