## Slide 1: Analysis of Sebastian’s generated MIP events
C. Lu
Princeton University
(4/20/2016)

## Slide 2
1000 waveforms and pulse height distribution
.
Waveforms
Pulse height distribution
(narrow Landau)
Sebastian generated 1000 waveforms with 20 picosecond sampling, and each waveform having 150 samples.
Chart: 
Chart: 

## Slide 3
Time resolution
.
Use constant-fraction method to analyze the data file: (Constant fraction 20%, delay time 1 ns)
Chart: 
| 3E-10 | 3.0499999999999998E-10 | 3.1000000000000002E-10 | 3.15E-10 | 3.1999999999999998E-10 | 3.2500000000000002E-10 | 3.3E-10 | 3.3499999999999998E-10 | 3.4000000000000001E-10 | 3.45E-10 | 3.4999999999999998E-10 | 3.5500000000000001E-10 | 3.6E-10 | 3.6499999999999998E-10 | 3.6999999999999996E-10 | 3.75E-10 | 3.7999999999999998E-10 | 3.8500000000000001E-10 | 3.9E-10 | 3.9499999999999998E-10 | 3.9999999999999996E-10
 | 4.0152e-08 | 2.2858e-06 | 8.6954e-05 | 0.0022103 | 0.037543 | 0.4261 | 3.2316 | 16.3768 | 55.4572 | 125.4871 | 189.7379 | 191.7 | 129.4207 | 58.3847 | 17.5998 | 3.5451 | 0.47716 | 0.042915 | 0.0025791 | 0.00010357 | 2.7793e-06
 | 20 | 4 | 11 | 9 | 18 | 17 | 17 | 36 | 49 | 105 | 205 | 202 | 105 | 64 | 42 | 22 | 12 | 4 | 9 | 8 | 10

## Slide 4
1000 waveforms and pulse height distribution
.
Waveforms
Pulse height distribution
(broad Landau)
Sebastian generated another 1000 waveforms with much broader Landau distribution:
Chart: 
Notice the variation of leading edge’s slope.

## Slide 5
Time resolution
.
Use constant-fraction method to analyze the data file: (Constant fraction 0.1, 0.2 and 0.3, delay time 1 ns)
Chart: 
Chart: 
| 2.5000000000000002E-10 | 2.55E-10 | 2.6000000000000003E-10 | 2.6500000000000002E-10 | 2.7E-10 | 2.7500000000000003E-10 | 2.8000000000000002E-10 | 2.85E-10 | 2.9000000000000003E-10 | 2.9500000000000002E-10 | 3E-10 | 3.0500000000000003E-10 | 3.1000000000000002E-10 | 3.15E-10 | 3.2000000000000003E-10 | 3.2500000000000002E-10 | 3.3E-10 | 3.3499999999999998E-10 | 3.4000000000000001E-10 | 3.45E-10 | 3.5000000000000003E-10 | 3.5500000000000001E-10 | 3.6E-10 | 3.6499999999999998E-10 | 3.7000000000000001E-10 | 3.75E-10 | 3.8000000000000003E-10 | 3.8500000000000001E-10 | 3.9E-10 | 3.9499999999999998E-10 | 4.0000000000000001E-10 | 4.05E-10 | 4.1000000000000003E-10 | 4.1500000000000001E-10 | 4.2E-10 | 4.2499999999999998E-10 | 4.3000000000000001E-10 | 4.35E-10 | 4.4000000000000003E-10 | 4.4500000000000001E-10 | 4.5E-10
 | 2.5e-10 | 2.55e-10 | 2.6e-10 | 2.65e-10 | 2.7e-10 | 2.75e-10 | 2.8e-10 | 2.85e-10 | 2.9e-10 | 2.95e-10 | 3e-10 | 3.05e-10 | 3.1e-10 | 3.15e-10 | 3.2e-10 | 3.25e-10 | 3.3e-10 | 3.35e-10 | 3.4e-10 | 3.45e-10 | 3.5e-10 | 3.55e-10 | 3.6e-10 | 3.65e-10 | 3.7e-10 | 3.75e-10 | 3.8e-10 | 3.85e-10 | 3.9e-10 | 3.95e-10 | 4e-10 | 4.05e-10 | 4.1e-10 | 4.15e-10 | 4.2e-10 | 4.25e-10 | 4.3e-10 | 4.35e-10 | 4.4e-10 | 4.45e-10 | 4.5e-10
 | 0.020349 | 0.045462 | 0.097428 | 0.20029 | 0.39496 | 0.74709 | 1.3556 | 2.3594 | 3.9393 | 6.309 | 9.6922 | 14.283 | 20.1903 | 27.3776 | 35.6103 | 44.4308 | 53.1767 | 61.0502 | 67.2328 | 71.0238 | 71.9705 | 69.9574 | 65.2291 | 58.3415 | 50.0544 | 41.1941 | 32.5204 | 24.6267 | 17.8889 | 12.465 | 8.3315 | 5.3418 | 3.2853 | 1.9382 | 1.0969 | 0.59542 | 0.31005 | 0.15487 | 0.074204 | 0.034105 | 0.015036
 | 0.020349 | 0.045462 | 0.097428 | 0.20029 | 0.39496 | 0.74709 | 1.3556 | 2.3594 | 3.9393 | 6.309 | 9.6922 | 14.283 | 20.1903 | 27.3776 | 35.6103 | 44.4308 | 53.1767 | 61.0502 | 67.2328 | 71.0238 | 71.9705 | 69.9574 | 65.2291 | 58.3415 | 50.0544 | 41.1941 | 32.5204 | 24.6267 | 17.8889 | 12.465 | 8.3315 | 5.3418 | 3.2853 | 1.9382 | 1.0969 | 0.59542 | 0.31005 | 0.15487 | 0.074204 | 0.034105 | 0.015036
 | 14 | 3 | 2 | 4 | 4 | 4 | 5 | 7 | 8 | 12 | 16 | 14 | 12 | 31 | 33 | 36 | 52 | 58 | 71 | 78 | 75 | 78 | 63 | 43 | 55 | 42 | 29 | 19 | 15 | 19 | 16 | 7 | 5 | 11 | 6 | 8 | 3 | 6 | 5 | 6 | 2
Chart: 
| 2.0000000000000001E-10 | 2.0500000000000002E-10 | 2.1E-10 | 2.1500000000000001E-10 | 2.2000000000000002E-10 | 2.25E-10 | 2.3000000000000001E-10 | 2.3500000000000002E-10 | 2.4E-10 | 2.4499999999999998E-10 | 2.5000000000000002E-10 | 2.55E-10 | 2.6000000000000003E-10 | 2.6500000000000002E-10 | 2.7E-10 | 2.7499999999999998E-10 | 2.8000000000000002E-10 | 2.85E-10 | 2.9000000000000003E-10 | 2.9500000000000002E-10 | 3E-10 | 3.0499999999999998E-10 | 3.1000000000000002E-10 | 3.15E-10 | 3.2000000000000003E-10 | 3.2500000000000002E-10 | 3.3E-10 | 3.3499999999999998E-10 | 3.3999999999999996E-10 | 3.45E-10 | 3.5000000000000003E-10 | 3.5500000000000001E-10 | 3.6E-10 | 3.6499999999999998E-10 | 3.6999999999999996E-10 | 3.75E-10 | 3.8000000000000003E-10 | 3.8500000000000001E-10 | 3.9E-10 | 3.9499999999999998E-10 | 3.9999999999999996E-10
 | 0.12849 | 0.28781 | 0.61093 | 1.2289 | 2.3423 | 4.2306 | 7.2411 | 11.7444 | 18.0505 | 26.289 | 36.2819 | 47.4498 | 58.8043 | 69.0577 | 76.8503 | 81.0416 | 80.9841 | 76.6869 | 68.8132 | 58.5129 | 47.1478 | 35.9998 | 26.0477 | 17.8594 | 11.6036 | 7.1441 | 4.1681 | 2.3044 | 1.2072 | 0.59934 | 0.28195 | 0.12569 | 0.053097 | 0.021255 | 0.0080627 | 0.0028982 | 0.00098722 | 0.00031866 | 9.7468e-05 | 2.8251e-05 | 7.7594e-06
 | 19 | 5 | 6 | 2 | 8 | 12 | 11 | 19 | 13 | 28 | 33 | 45 | 55 | 71 | 61 | 90 | 111 | 67 | 52 | 71 | 37 | 32 | 20 | 22 | 15 | 14 | 6 | 13 | 10 | 4 | 3 | 6 | 4 | 8 | 4 | 2 | 1 | 1 | 2 | 3 | 0
The constant-fraction method is based on the assumption that the leading edge of the pulse has similar slope, but we noticed that the leading edge of this data set (broad Landau) varies (see previous slide).
Hence, the time resolution is worse for the broad Landau simulation.
Can we find a new algorithm to analyze this data?