## Slide 1: APD Beam Test @ CERN Second Data Set Analysis Results Changguo Lu Princeton University Feb 26, 2013

## Slide 2
CERN Beam Test Data Set
Sebastian provided a set of 520 data events, which were preselected from the raw data files.
Channel #1: scintillation counter,
Channel #2 and #3: 2 RMD 8x8 mm2 mesh APDs,
Channel #4: 2x2 mm2 APD.
This data set is for VCSEL test of two APDs, so only channel #2 and #3 are having signal, ch#1 and #4 only recorded baseline noise.
All 520 events have big enough signal for channel #2 and #3;
their peak-amplitude histogram and time-difference histogram are reported in following slides.

## Slide 3
Channel #2 & #3 Amplitude Histograms
Chart: V(channel#2)
Chart: V(channel#3)

## Slide 4
t distribution
Chart: 
| -3.5000000000000028E-9 | -3.4500000000000028E-9 | -3.4000000000000023E-9 | -3.3500000000000027E-9 | -3.3000000000000027E-9 | -3.2500000000000035E-9 | -3.200000000000003E-9 | -3.150000000000003E-9 | -3.1000000000000034E-9 | -3.0500000000000025E-9 | -3.0000000000000029E-9 | -2.950000000000002E-9 | -2.9000000000000024E-9 | -2.8500000000000019E-9 | -2.8000000000000019E-9 | -2.7500000000000027E-9 | -2.7000000000000023E-9 | -2.6500000000000026E-9 | -2.6000000000000026E-9 | -2.5500000000000022E-9 | -2.5000000000000025E-9 | -3.5000000000000028E-9 | -3.4500000000000028E-9 | -3.4000000000000023E-9 | -3.3500000000000027E-9 | -3.3000000000000027E-9 | -3.2500000000000035E-9 | -3.200000000000003E-9 | -3.150000000000003E-9 | -3.1000000000000034E-9 | -3.0500000000000025E-9 | -3.0000000000000029E-9 | -2.950000000000002E-9 | -2.9000000000000024E-9 | -2.8500000000000019E-9 | -2.8000000000000019E-9 | -2.7500000000000027E-9 | -2.7000000000000023E-9 | -2.6500000000000026E-9 | -2.6000000000000026E-9 | -2.5500000000000022E-9 | -2.5000000000000025E-9
 | 4.1502e-14 | 1.0709e-10 | 1.0542e-07 | 3.9583e-05 | 0.0056697 | 0.30979 | 6.4568 | 51.3357 | 155.6949 | 180.1275 | 79.4944 | 13.3827 | 0.85942 | 0.021053 | 0.00019673 | 7.0127e-07 | 9.5356e-10 | 4.9461e-13 | 9.7865e-17 | 7.3866e-21 | 2.1267e-25
 | 4.1502e-14 | 1.0709e-10 | 1.0542e-07 | 3.9583e-05 | 0.0056697 | 0.30979 | 6.4568 | 51.3357 | 155.6949 | 180.1275 | 79.4944 | 13.3827 | 0.85942 | 0.021053 | 0.00019673 | 7.0127e-07 | 9.5356e-10 | 4.9461e-13 | 9.7865e-17 | 7.3866e-21 | 2.1267e-25
 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
 | 0 | 0 | 1 | 0 | 0 | 2 | 29 | 38 | 164 | 173 | 88 | 0 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 2 | 29 | 38 | 164 | 173 | 88 | 0 | 21 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Slide 5
Waveforms
Chart: 
The signals are quite uniform as expected.
Scatter plot of V(ch#2) vs. V(ch#3) shows their linear correlation.

## Slide 6
Samples of Channel #1 traces
No signal can be identified, noise only.
~450 traces are analyzed for the baseline shift and rms noise figure as shown on left.

## Slide 7
Samples of Channel #4 traces
No signal can be identified, noise only.
~500 traces are analyzed for the baseline shift and rms noise figure as shown on left.