## Slide 1: DESY Beam Test Analysis C. Lu, Mar. 11, 2014
Run # 36
APD signal peak distribution

## Slide 2: DESY beam test
Run # 41
APD signal peak distribution: Min-ion peak has disappeared
Chart: Front APD (ch#1)
Chart: Back APD (ch#2)

## Slide 3: DESY beam test
Chart: Front APD
Chart: Back APD
Run # 42
From run #36 to run #42 the time span is ~ 5 hours. Last good run is #40.

## Slide 4
Wenteq amplifier (test at Princeton)
20mV/div
2ns/div
Peak ~ 60mV
Fe-55 signal, 64mm^2 APD, HV = -1750V

## Slide 5
rms noise with Wenteq amplifier (test at Princeton)
20mV/div
2ns/div
rms noise ~ 3.3mV, S/N ~ 60/3.3 = 18