## Sheet1
Daya Bay RPC Gas Distribution Panels |  | 2010-03-22
This sheet summarizes labor costs, but not materials and supplies
First scenario: Keep the original number of channels unchanged, 7 flow distribution crates and 7 digital bubbler crates for near halls and 11 crates for far hall (plus 1 spare).
Each distribution channel and each digital bubbler serves 4 RPCs.
|  | Quantities of Units |  |  |  |  | Labor, per Unit |  |  | Costs
Description | Drawing | Needed | Built | Discards | Complete | Remain | Old Rate | New Rate | Hours | Old Unit | New Unit | Built | Complete | Remain | Total | Save
Totals | [11 empty] | 150839.1 | 140669.1 | 5687.5 | 156526.6 | 0
Machine Input Bubbler Main Block | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Main_Input_Block.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Input Bubbler Overflow | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Input_Overflow.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Input Bubbler Center | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Input_Center_F.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Input Bubbler Gas Run | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Input_Gas_Run.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Input Bubbler Fitting Boss | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Input_Fitting_Boss.pdf | 26 | 19 |  | 19 | 7 | 90 | 50 | 0.25 | 22.5 | 12.5 | 427.5 | 427.5 | 87.5 | 515
Machine Input Bubbler Tubes (set of 16) | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Input_Tube.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 1 | 90 | 50 | 2340 | 2340 | 0 | 2340
Machine Flow Resistor Tops/Bottoms | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Flow_Resistor_Frame_Top_Bot.pdf | 52 | 52 |  | 52 | 0 | 90 | 50 | 1 | 90 | 50 | 4680 | 4680 | 0 | 4680
Machine Flow Resistor Standoff | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Flow_Resistor_Standoff.pdf | 52 | 52 |  | 52 | 0 | 90 | 50 | 0.17 | 15.3 | 8.5 | 795.6 | 795.6 | 0 | 795.6
Machine Input Bubbler Front Panel | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Valve_Panel.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 1 | 90 | 50 | 2340 | 2340 | 0 | 2340
Machine Input Bubbler Back Panel | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Input_Panel_Back.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.75 | 67.5 | 37.5 | 1755 | 1755 | 0 | 1755
Silkscreen Input Bubbler Front Panel |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Silkscreen Input Bubbler Back Panel |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Glue Input Bubbler Blocks | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Main_Input_Assem.pdf | 26 | 26 |  | 19 | 7 | 90 | 50 | 5 | 450 | 250 | 11700 | 8550 | 1750 | 13450
Assemble Flow Resistors | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Flow_Resistor_Assem.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 1.5 | 135 | 75 | 3510 | 3510 | 0 | 3510
Assemble Input Bubbler |  | 26 | 26 |  | 19 | 7 | 90 | 50 | 4 | 360 | 200 | 9360 | 6840 | 1400 | 10760
Machine Output Bubbler Main Block | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Main_Output_Block.pdf | 26 | 31 | 5 | 26 | 0 | 90 | 50 | 10 | 900 | 500 | 27900 | 23400 | 0 | 27900
Machine Output Bubbler Window | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Window.pdf | 26 | 19 |  | 19 | 7 | 90 | 50 | 1.5 | 135 | 75 | 2565 | 2565 | 525 | 3090
Machine Output Bubbler Top | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Output_Top.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Output Bubbler Overflow | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Output_Overflow.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Output Bubbler Mount Shelf | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Mount_Shelf.pdf | 26 | 19 |  | 19 | 7 | 90 | 50 | 0.5 | 45 | 25 | 855 | 855 | 175 | 1030
Machine Output Bubbler Front Panel | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Output_Panel_F.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.75 | 67.5 | 37.5 | 1755 | 1755 | 0 | 1755
Silkscreen Output Bubbler Front Panel |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Glue Output Bubbler Blocks | http://puhep1.princeton.edu/~mcdonald/dayabay/Sands/Output_Bubbler_Assem.pdf | 26 | 19 |  | 19 | 7 | 90 | 50 | 4 | 360 | 200 | 6840 | 6840 | 1400 | 8240
Assemble Output Bubbler |  | 26 | 19 |  | 19 | 7 | 90 | 50 | 1 | 90 | 50 | 1710 | 1710 | 350 | 2060
Second scenario: use same number of flow resistors as before, but reduce the number of digital bubbler channels to half, thus as need 4 digital bubbler crates
and 7 flow distribution crate for near halls, 6 digital bubbler crates and 11 flow distribution crates for far hall. Total we need 14+1 digital bubbler crates and 25+1 flow distribution crates.
Each distribution channel serves 4 RPCs, and each digital bubbler serves 8 RPCs.
|  | Quantities of Units |  |  |  |  | Labor, per Unit |  |  | Costs
Description |  | Needed | Built | Discards | Complete | Remain | Old Rate | New Rate | Hours | Old Unit | New Unit | Built | Complete | Remain | Total | Save
Totals | [11 empty] | 150839.1 | 140669.1 | 4837.5 | 155676.6 | 850
Machine Input Bubbler Main Block |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Input Bubbler Overflow |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Input Bubbler Center |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Input Bubbler Gas Run |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Input Bubbler Fitting Boss |  | 26 | 19 |  | 19 | 7 | 90 | 50 | 0.25 | 22.5 | 12.5 | 427.5 | 427.5 | 87.5 | 515
Machine Input Bubbler Tubes (set of 16) |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 1 | 90 | 50 | 2340 | 2340 | 0 | 2340
Machine Flow Resistor Tops/Bottoms | Flow_Resistor_Frame_Top_Bottom.pdf | 52 | 52 |  | 52 | 0 | 90 | 50 | 1 | 90 | 50 | 4680 | 4680 | 0 | 4680
Machine Flow Resistor Standoff | Flow_Resistor_Standoff.pdf | 52 | 52 |  | 52 | 0 | 90 | 50 | 0.17 | 15.3 | 8.5 | 795.6 | 795.6 | 0 | 795.6
Machine Input Bubbler Front Panel | Valve_Panel.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 1 | 90 | 50 | 2340 | 2340 | 0 | 2340
Machine Input Bubbler Back Panel | Input_Panel_Back.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.75 | 67.5 | 37.5 | 1755 | 1755 | 0 | 1755
Silkscreen Input Bubbler Front Panel |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Silkscreen Input Bubbler Back Panel |  | 26 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Glue Input Bubbler Blocks |  | 26 | 26 |  | 19 | 7 | 90 | 50 | 5 | 450 | 250 | 11700 | 8550 | 1750 | 13450
Assemble Flow Resistors | Flow_Resistor_Assem.pdf | 26 | 26 |  | 26 | 0 | 90 | 50 | 1.5 | 135 | 75 | 3510 | 3510 | 0 | 3510
Assemble Input Bubbler |  | 26 | 26 |  | 19 | 7 | 90 | 50 | 4 | 360 | 200 | 9360 | 6840 | 1400 | 10760
Machine Output Bubbler Main Block |  | 15 | 31 | 5 | 26 | 0 | 90 | 50 | 10 | 900 | 500 | 27900 | 23400 | 0 | 27900
Machine Output Bubbler Window |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 1.5 | 135 | 75 | 2565 | 2565 | 0 | 2565
Machine Output Bubbler Top |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Output Bubbler Overflow |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Output Bubbler Mount Shelf |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 0.5 | 45 | 25 | 855 | 855 | 0 | 855
Machine Output Bubbler Front Panel | Output_Panel_F.pdf | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.75 | 67.5 | 37.5 | 1755 | 1755 | 0 | 1755
Silkscreen Output Bubbler Front Panel |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Glue Output Bubbler Blocks |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 4 | 360 | 200 | 6840 | 6840 | 0 | 6840
Assemble Output Bubbler |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 1 | 90 | 50 | 1710 | 1710 | 0 | 1710
Poly-flo tee |  | 200 | 0 | 0 | 0 | 200 | 4 | 4 | 1 | 4 | 4 | 0 | 0 | 800 | 800
Assemble Poly-flo tee |  | 200 |  |  |  | 200 | 25 | 50 | 0.08 | 2 | 4 | 0 | 0 | 800 | 800
Third scenario: reduce both flow distribution and digital bubbler channels to half, thus as need 4 digital bubbler crates and flow distribution crate for near halls,
6 digital bubbler crates and flow distribution crates for far hall. In total we need 14+1 digital bubbler crates and flow distribution crates.
Each distribution channel and each digital bubbler serves 8 RPCs.
|  | Quantities of Units |  |  |  |  | Labor, per Unit |  |  | Costs
Description |  | Needed | Built | Discards | Complete | Remain | Old Rate | New Rate | Hours | Old Unit | New Unit | Built | Complete | Remain | Total | Save
Totals | [11 empty] | 150839.1 | 140669.1 | 3200 | 154039.1 | 2487.5
Machine Input Bubbler Main Block |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Input Bubbler Overflow |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Input Bubbler Center |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Input Bubbler Gas Run |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Input Bubbler Fitting Boss |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 0.25 | 22.5 | 12.5 | 427.5 | 427.5 | 0 | 427.5
Machine Input Bubbler Tubes (set of 16) |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 1 | 90 | 50 | 2340 | 2340 | 0 | 2340
Machine Flow Resistor Tops/Bottoms | Flow_Resistor_Frame_Top_Bottom.pdf | 30 | 52 |  | 52 | 0 | 90 | 50 | 1 | 90 | 50 | 4680 | 4680 | 0 | 4680
Machine Flow Resistor Standoff | Flow_Resistor_Standoff.pdf | 30 | 52 |  | 52 | 0 | 90 | 50 | 0.17 | 15.3 | 8.5 | 795.6 | 795.6 | 0 | 795.6
Machine Input Bubbler Front Panel | Valve_Panel.pdf | 15 | 26 |  | 26 | 0 | 90 | 50 | 1 | 90 | 50 | 2340 | 2340 | 0 | 2340
Machine Input Bubbler Back Panel | Input_Panel_Back.pdf | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.75 | 67.5 | 37.5 | 1755 | 1755 | 0 | 1755
Silkscreen Input Bubbler Front Panel |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Silkscreen Input Bubbler Back Panel |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Glue Input Bubbler Blocks |  | 15 | 26 |  | 19 | 0 | 90 | 50 | 5 | 450 | 250 | 11700 | 8550 | 0 | 11700
Assemble Flow Resistors | Flow_Resistor_Assem.pdf | 15 | 26 |  | 26 | 0 | 90 | 50 | 1.5 | 135 | 75 | 3510 | 3510 | 0 | 3510
Assemble Input Bubbler |  | 15 | 26 |  | 19 | 0 | 90 | 50 | 4 | 360 | 200 | 9360 | 6840 | 0 | 9360
Machine Output Bubbler Main Block |  | 15 | 31 | 5 | 26 | 0 | 90 | 50 | 10 | 900 | 500 | 27900 | 23400 | 0 | 27900
Machine Output Bubbler Window |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 1.5 | 135 | 75 | 2565 | 2565 | 0 | 2565
Machine Output Bubbler Top |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 2 | 180 | 100 | 4680 | 4680 | 0 | 4680
Machine Output Bubbler Overflow |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 8 | 720 | 400 | 18720 | 18720 | 0 | 18720
Machine Output Bubbler Mount Shelf |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 0.5 | 45 | 25 | 855 | 855 | 0 | 855
Machine Output Bubbler Front Panel | Output_Panel_F.pdf | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.75 | 67.5 | 37.5 | 1755 | 1755 | 0 | 1755
Silkscreen Output Bubbler Front Panel |  | 15 | 26 |  | 26 | 0 | 90 | 50 | 0.3 | 27 | 15 | 702 | 702 | 0 | 702
Glue Output Bubbler Blocks |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 4 | 360 | 200 | 6840 | 6840 | 0 | 6840
Assemble Output Bubbler |  | 15 | 19 |  | 19 | 0 | 90 | 50 | 1 | 90 | 50 | 1710 | 1710 | 0 | 1710
Poly-flo tee |  | 400 | 0 | 0 | 0 | 400 | 4 | 4 | 1 | 4 | 4 | 0 | 0 | 1600 | 1600
Assemble Poly-flo tee |  | 400 |  |  |  | 400 | 25 | 50 | 0.08 | 2 | 4 | 0 | 0 | 1600 | 1600