## Sheet1
GAS SYSTEM STATUS PANEL
Part Discription | QTY | PRICE ea | DISTRIBUTOR | DISTRIB # | TOTAL PRICE | SOURCE OF QUOTE | Sub-total | # of sets | Total | Grand total
24V converter | 1 | 95 | Newark | 83F2437 | 95 | Lambda kwd15-1212 | 9996.44 | 3 | 29989.32 | 36698.24
conn 12pin male-female | 1 | 10 |  |  | 10
conn 4pin male-female | 5 | 10 |  |  | 50
conn 8pin male-female | 3 | 10 |  |  | 30
Fuse | 4 | 5 |  |  | 20
krpa-11dn-24 | 1 | 12.44 | Newark | 21F1087 | 12.44 | TYCO_Relay_KHAU_11DN
LIGHT | 14 | 2 |  |  | 28
Power Socket | 1 | 5 |  |  | 5
HAD sensor (EX-5100) | 4 | 1145 | Enmet Corp. |  | 4580 | Email quote from Enmet. Http://www.enmet.com
Simpson H335 | 4 | 265 |  |  | 1060 | Email_quote_Simpson_meter
Photohelic 3000SGT | 8 | 418 | Dwyer Instruments |  | 3344 | http://www.dwyer-inst.com/htdocs/pressure/Series3000Price.cfm
Pitot tube (160-8) | 8 | 46.75 | Dwyer Instruments |  | 374 | http://www.dwyer-inst.com/htdocs/airvelocity/Series160Price.cfm
Mounting accessories for Pitot tube | 8 | 48.5 | Dwyer Instruments |  | 388 | http://www.dwyer-inst.com/htdocs/airvelocity/Series160Price.cfm
Front Panels 6u (19"x10.5") | 1 | 42 | Newark | 25B6425 | 42 | BUD PA-1106-BT | 538 | 3 | 1614
Panel Silkscreening | 1 | 200 |  |  | 200
PCB board (size 150 sq"??) | 1 | 296 |  |  | 296
HAD sensor calibration equipment | 1 | 265 |  |  |  | Email quote from Enmet. | 265 | 1 | 265
Labor | hours | charge/hour |  |  | Total cost
PCB designs | 16 | 85.82 |  |  | 1373.12 |  | 4829.92 | 1 | 4829.92
panel deigns | 8 | 85.82 |  |  | 686.56
EP Lab | 16 | 87.32 |  |  | 1397.12
Assembly | 16 | 85.82 |  |  | 1373.12