## Sheet1
Subsystem |  | Item | Specs | Price/unit | # of unit | Cost/item | Subsystem cost | # of subsystem | Total cost ($) | Comment
Gas mixing panel | [6 empty] | 28778.95 | 3 | 86336.85
Components
|  | 1479 Mass Flow Controller (Ar) | Full range 3.0 SLM |  | 1 | 0
|  | 1479 Mass Flow Controller (R134A) | Full range 5.0 SLM |  | 1 | 0
|  | 1479 Mass Flow Controller (Isobutane) | Full range 1.0 SLM |  | 1 | 0
|  | 1479 Mass Flow Controller (SF6) | Full range 0.2 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (Ar) | Full range 3.0 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (R134A) | Full range 5.0 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (Isobutane) | Full range 1.0 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (SF6) | Full range 0.2 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (mix) | Full range 10.0 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (mix) | Full range 10.0 SLM |  | 1 | 0
|  | 179A Mass Flow Meter (mix) | Full range 3.0 SLM |  | 1 | 0
|  | Gas Pressure Sensor | Type 890 single-ended, absolute |  | 4 | 0
|  | 247D four channel Power Supply/Readout |  |  | 1 | 0 |  |  |  | Four Channel Power Supply/Readout is for use with MKS Instruments models 358, 558, 1150, 1359, 1559, 1179, 1479.
|  | Line gas regulator |  |  | 4 | 0
|  | Line gas filter |  |  | 4 | 0
|  | Manual shutoff valve |  |  | 4 | 0
|  | Solenoid shutoff valve |  |  | 4 | 0
|  | Gas mixer |  |  | 1 | 0
|  | Gas regulator for gas tank |  |  | 4 | 0
|  | Valve power supply |  | 100 | 1 | 100
|  | Line check valves |  |  | 4 | 0
|  | metering valve |  |  | 2 | 0
Rack construction
|  | Labor cost |  | 85.82 | 16 | 1373.12
|  | Swagelok VCR fittings |  | 34.03 | 7 | 238.21 |  |  |  | Phone quote from Swagelok distributor Penn Fluid System,267-989-0300
|  | Swagelok VCR gaskets |  | 3.03 | 50 | 151.5 |  |  |  | Phone quote from Swagelok distributor Penn Fluid System,267-989-0300
|  | Swagelok VCR gaskets |  | 1.23 | 50 | 61.5 |  |  |  | Phone quote from Swagelok distributor Penn Fluid System,267-989-0300
|  | Swagelok VCR fitting caps |  | 10.66 | 7 | 74.62 |  |  |  | Phone quote from Swagelok distributor Penn Fluid System,267-989-0300
|  | Rack |  | 200 | 1 | 200 |  |  |  | McM, part # 18505T15
| Turn key mixing system from AES (with water bubbler spliter) |  |  |  |  | 26580 |  |  |  | Delivery:5-7 Weeks After Receipt of Order
X | Turn key mixing system from Dakota Systems(w/o water bubbler spliter) |  |  |  |  | 28124
X | Turn key mixing system from Innovent Tech(w/o water bubbler spliter) |  |  |  |  | 41375
Display, power supply and safety panels (see Display-power-panel.xls for detail) | [6 empty] | 8622 | 3 | 25866
|  | Parts |  |  |  | 5182
|  | Labor |  |  |  | 3440 |  |  |  | All labor cost already includes 32.5% FB and 58% OH.
Gas distribution and digital bubbler system (see Bubbler-panel-mechanical.xls and Bubbler-panel-electronics.xls for detail) | [6 empty] | 84770 | 1 | 84770
Safety Status Monitoring
|  | SIAM |  | 1200 | 1 | 1200
Digital gas bubbler and flow resistor system
|  | Parts(mechnical) |  | 10471 | 1 | 10471
|  | Parts(electronics) |  | 5029 | 1 | 5029
|  | Labor(mechanical) |  | 43973 | 1 | 43973
|  | Labor(electronics) |  | 24097 | 1 | 24097
Gas supply site | [6 empty] | 3860 | 3 | 11580
Argon
|  | Gas regulator, tubing |  | 400 | 1 | 400
|  | Backup 6-packs regulators |  | 400 | 1 | 400
Isobutane
|  | Electric weight scale |  | 200 | 1 | 200
|  | Gas regulator, tubing |  | 400 | 1 | 400
|  | Backup tank gas regulator |  | 400 | 1 | 400
Freon
|  | Electric weight scale |  | 200 | 1 | 200
|  | Backup tank gas regulator |  | 400 | 1 | 400
|  | Gas regulator, tubing |  | 400 | 1 | 400
SF6
|  | Backup tank gas regulator |  | 400 | 1 | 400
|  | Gas regulator, tubing |  | 400 | 1 | 400
Manual shutoff valves
|  | Sample, Vent, Output to expeirmental hall |  | 200 | 3 | 600
Flexible hose of teflon
|  | 1/4" I.D. braided nylon tubing, 100 ft long |  | 0.6 | 100 | 60 |  |  |  | McM, part # 5097T636
Miscellaneous
| Various small parts not listed in the table |  |  |  |  | 500 | 500 | 3 | 1500
Grand total ($) | [8 empty] | 210052.85
Note: There is no spare parts and contingency included in this cost estimation, cost for parts does not include OH.