## Sheet1
Pallet # | Label # | Check | Name | Qty | W(") | L(") | H(") | Shipping box | content
2 | 1 | x | Flowmeter crate | 1 | 19 | 17 | 11 | Carton box 20"x20"x20" | crate(1), cable(4)
2 | 2/3 | x | Pressure crate | 1 | 19 | 17 | 7 | Carton box 20"x20"x20" | crate(2), cable(6)
| 2/3 | x | Power crate |  | 19 | 17 | 6
2 | 4 | x | Status crate | 1 | 19 | 17 | 15.5 | Carton box 20"x20"x20" | crate(1), cable(11), ForceFlowSensor w/ pipe,
quick connector w/ tubing
1 | 5 | x | Gas mixing panel | 1 | 19 | 6.5 | 19 | Carton box 20"x20"x12" | panel(1), cables(9)
2 | 6 | x | Flow control(247D) | 1 | 18.5 | 22 | 11 | original box | crate(1), cable(1), manifolds(2)
1 | 7 | x | Digital scale (Force flow) | 1 | 16.5 | 13 | 16.5 | original box | scale w/o pipe and sensor
2 | 8/9 | x | Digital scale (Scaletron) | 1 | 32 | 18.5 | 9 | original box | scale w/ cable
| 8/9 | x | Digital scale (Scaletron) |  | 32 | 18.5 | 9 | original box | scale w/ cable
2 | 10/11/28 | x | Mechanical scale(1/box) | 1 | 15.5 | 15.5 | 4.5 | Carton box 20"x20"x20" | scale(1)
| 10/11/28 | x | Mechanical scale(2/box) |  | 13 | 16 | 5.5 |  | scales(2)
| 10/11/28 | x | Weather station |  | 19 | 16 | 3.5 |  | Weather station(1),DC adapter(1),
USB/RS232 cable(1), RS232 cable(1)
1 | 12 | x | Argon switchover panel | 1 | 9 | 7 | 12 | Carton box 20"x20"x12" | panel(1) + N2 regulator/solenoid(1)
1 | 13 | x | Switchover panels (SF6) | 1 | 23 | 6 | 12 | Carton box 24"x12"x12" | panel(1)
1 | 14 | x | Switchover panels (R134A) | 1 | 23 | 6 | 12 | Carton box 24"x12"x12" | panel(1)
1 | 15 | x | Gas distribution/bubbler crate #1 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 16 | x | Gas distribution/bubbler crate #2 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 17 | x | Gas distribution/bubbler crate #3 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 18 | x | Gas distribution/bubbler crate #4 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 19 | x | Gas distribution/bubbler crate #5 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 20 | x | Gas distribution/bubbler crate #6 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 21 | x | Gas distribution/bubbler crate #7 | 1 | 19 | 11 and 3 | 10 and 6.5 | Carton box 20"x20"x12" | crate(2)
1 | 22 | x | Digital bubbler readout crate | 1 | 19 | 12 | 9 | Carton box 20"x20"x12" | crate w/ 7 boards(1), 10m flat cables (7),
100ft CAT5 cable(1), pair of USB extension(1),
USB/RS232 convert cables(7)
1 | 23 | x | Water bubbler/Storage tank | 1 | 10 | 10 | 14 | Carton box 20"x20"x12" | tanks(2)
1 | 24 | x | PC (with monitor, keyboard, etc.) | 1 |  |  |  | Dell's box | PC w/keyboard, mouse, monitor, cable(2),
Ethernet cable(3), GC430 power cable(2)
3 | 25 | x | Gas cabinet | 1 | 25 | 18 | 74 | Clear stretch wrapped | switchover panel(1), HAD(1),
ForceFlow platform(1), filter(1)
3 | 26 | x | Venting pipe for cabinet | 1 | 6 | 64 | 6 | original box | Galvanized pipe(1)
3 | 27 | x | Venting pipe for cabinet | 1 | 6 | 64 | 6 | original box | Galvanized pipe(1)
2 | 26/27 | x | fan, elbow, Pitot | 1 |  |  |  | Carton box 20"x20"x12" | fan, elbow(1), Pitot tube
4 | 29 | x | GC430 | 1 | 29 | 20 | 33.5 | original box
4 | 30 | x | GC430 | 1 | 29 | 20 | 33.5 | original box
2 | 31 | x | Tools, leak checker, etc. | 1 | 20 | 20 | 12 | Carton box 24"x12"x12" | Tool box(1), Restek(1)
1 | 32 | x | HAD sensors and calibration kit | 1 | 16 | 11 | 7 | original box | HAD(1), calibration kit(1)
2 | 33 | x | Varian gas filters & columns | 1 | 24 | 14.5 | 14.5 | original box | 2 columns, 3 filter sets.
| Total |  |  | 30