## Sheet1
manual switchover panel w/ solenoid | ASY-540-Penn | Penn Fluid (Swagelok) | 2150 | 2 | 4300
manual switchover panel w/o solenoid | ASY-540-Penn | Penn Fluid (Swagelok) | 2050 | 4 | 8200
Auto switchover panel for Ar | ASY-542-Penn | Penn Fluid (Swagelok) | 2400 | 2 | 4800
explosion proof fan, 6" diameter | MSFX061-115 | Marc Climatic Controls, Inc | 468 | 2 | 936
Coalescing filter | HN1S-4QUY | www.generalairproducts.com | 236.5 | 3 | 709.5
Leak detector |  | Restek | 900 | 2 | 1800
Total of above |  |  |  |  | 20745.5
Refurbish the prototype gas mixing panel w/ 2 new mass flow controllers |  |  | 1500 | 2 | 3000
OR
Buy 3rd mixing panel from Penn Fluid (Swagelok) to match the 1st 2 systems |  |  |  |  | 22000
Total if refurbish the 3rd panel |  |  |  |  | 23745.5
Total if buy new 3rd panel |  |  |  |  | 42745.5